Framework Agreement for individual expert services – Adwa and Abala Hospital rehabilitation Project

Expertise France

Mission description

General objective

To engage a highly experienced and qualified Biomedical Engineer as an individual consultant to provide comprehensive technical support throughout all phases of the project. The consultant will ensure that biomedical equipment planning, specification, procurement, installation, testing, commissioning, and handover are conducted in accordance with national standards and international best practices.

The Biomedical Engineer will also provide technical guidance during design review, support quality assurance and compliance verification, supervise equipment installation and calibration, and build the capacity of relevant staff on proper operation and maintenance procedures. This will ensure functionality, safety, sustainability, and optimal performance of all biomedical systems delivered under the project.

Specific Objectives

- Provide technical support to EF and the hospital technical teams and management in systematically identifying, analysing, and defining medical equipment needs, ensuring alignment with service delivery requirements, facility capacity, national standards, and long-term operational sustainability;

- Develop comprehensive technical specifications in full alignment with the standards and guidelines of the Ethiopia Ministry of Health (MoH); conduct a detailed market assessment to identify available suppliers and current pricing trends; and establish realistic unit costs for the assessed and approved lists of medical equipment for Adwa and Abala Hospitals, ensuring cost-effectiveness, quality compliance, and value for money;

- Assist EF’s procurement team in tender document development and evaluations of bid documents;

- Provide technical support in delivering structured capacity-building training, including the provision of essential tools and supplies, to biomedical engineers and technicians at both hospitals during the installation, testing, and commissioning of the equipment, ensuring they acquire the necessary skills for proper operation, preventive maintenance, and troubleshooting;

- Conduct systematic sampling inspections both prior to dispatch and upon delivery of the items to verify compliance with the approved technical specifications, quality standards, and contractual requirements, ensuring that all equipment meets the expected performance and safety criteria;

- Provide actionable recommendations for project efficiency, cost-effectiveness, and sustainability;

Methodology and Tasks

- Review relevant project design documentation, including health facility assessments, infrastructure plans, national and international standards so as to provide feasible guidance to EF team;

- Participate in healthcare facilities design appraisal meetings with the EF team, hospital management, Ministry of Health, and other stakeholders to clarify expectations, define scope, and establish work plans.

- Conduct detailed assessments of existing medical equipment and projected service demand of the hospital across three phases early, mid, and final stages of the rehabilitation work to systematically identify gaps and emerging needs, and prepare a prioritized list of required medical devices accordingly, ensuring alignment with implementation timelines and operational readiness;

- Develop detailed technical specifications, market analysis, and unit price estimates for the procurement of medical equipment, ensuring compliance with MoH and international standards;

- Support EF and the procurement team during the tendering process by providing technical evaluation, verifying vendor credentials, and assisting in the selection of suppliers.

- Provide expert input during the preliminary and detailed design phases to ensure proper integration of medical equipment into hospital infrastructure, including electrical, mechanical, ICT, and space considerations.

- Supervise the installation, testing, and commissioning of medical equipment, conducting quality assurance to verify compliance with specifications and safety standards.

- Deliver capacity building training sessions for hospital biomedical engineers and technicians on equipment operation, maintenance, and management.

- Hold regular meetings with EF, hospital staff, and stakeholders to track progress, address challenges, and adapt activities as needed.

- Prepare and submit detailed progress reports, technical assessment reports, validation documents, and final completion reports in accordance with EF guidelines.

- Undertake any additional tasks related to the core scope of work as assigned by EF to ensure the successful completion of the project, within the context of the project’s objectives.

- Work in close coordination and synergy with the engineering consultant throughout all phases of the project, and review technical designs to ensure adequate power capacity, proper utility provisions, and appropriate equipment placement in terms of safety, functionality, workflow efficiency, and service delivery requirements;

Table 1. Expected deliverables and fees

| Project Phase | Work Assignment Overview | Deliverables |  |
| --- | --- | --- | --- |
| Early phase of the project | Emergency Medical Equipment needs assessment for Adwa and Abala hospitals: - Rapid evaluation of existing medical equipment; - Identification of urgent equipment needs; - Safety and functional observations and testing; - Documentation of Findings and Prioritization; - Guidance for emergency medical equipment Procurement; | - Field mission assessment and findings report; - ToRs with technical specification, market analysis and unit prices of prioritized medical equipment; - Validation reports from MoH for the prioritized medical items; - Report on the technical supports provided to procurement team in vendor/s selection, and evaluations; - Reports of sample and installation inspection the procured medical equipment |  |
| Preliminary and technical design Phase | Advise the engineering consultant during Preliminary Design Studies (PDS) for the firm to consider the alignment and suitability of room layouts for the installation and proper functioning of the required medical equipment in Adwa and Abala hospitals. For instance; - Provide technical input on medical equipment based infrastructure requirements such as: - Electrical needs - Mechanical/HVAC needs - Plumbing and drainage needs - ICT/Communication requirements - Review the alignment and layouts of room appropriateness for the designated services; - Ensure safety and compliance for each facilities; - Validating structural requirements for each medical equipment; - Provide technical advice on functional zoning and workflow planning in the healthcare facilities; - Input on Storage and Maintenance Spaces; - Review and comment final design drawings; - Provide technical advice to align rehabilitation design with future needs; | - Report on the findings and recommendations provided to Engineering Consultant and EF; - Training reports on digitalization of healthcare services and medical equipment management; - Participation report in consultant inception report debriefing sessions; |  |
| Execution phase of the Project | MID-PHASE Medical Equipment Procurement: need assessment and procurement; - Market research & technology Review; - Preparation of tender/procurement documents; - Technical evaluation of bids verification of manufacturer credentials; - Site readiness assessment; - Inspection, testing & acceptance; - Supervision of installation & commissioning; - Training & capacity building; - Documentation & asset management; - Warranty, Service, and After-Sales Follow-Up | - Report on the major medical equipment needs assessment and prioritized lists for Adwa and Abala hospitals; - Report on the available models, manufacturers, and technological options in the medical equipment market; - Comparison reports on the performance, compatibility, and warranty conditions these items; - Submission of complete ToRs of medical equipment lists with comprehensive technical specification and unit prices for Adwa and Abala hospitals; - Validation report from the Ministry of Health (MoH) for the complete medical equipment lists for Adwa and Abala hospitals. - Presentation report on the validation of the complete medical equipment lists for Adwa and Abala hospitals submitted to the EF team and Engineering consultant; - ToRs including technical specifications, market analysis, and unit pricing for the assessed major medical equipment required for Adwa and Abala hospitals; - Report on the assessment conducted and the extent to which the designs by the Master of Works and the rehabilitation works incorporated the biomedical engineer’s inputs; - Reports on the technical supports provided to procurement team in the selection and evaluation of international or local vendors. - Inspection and installation report for the supplied samples and installed equipment. - Capacity building training reports on the installation and utilization of supplied medical equipment |  |
| End phase of the project | - Conduct functional and performance testing of all rehabilitated and newly installed medical devices (e.g., X-ray machines, ventilators, infusion pumps). - Ensure that all equipment meets the manufacturer specifications, regulatory standards, and clinical requirements. - Document test results and commissioning reports. - Perform calibration of medical equipment to ensure accuracy (e.g., diagnostic and monitoring devices). - Implement quality assurance procedures for critical devices to maintain reliability and patient safety. - Recommend adjustments or repairs if equipment is not functioning within acceptable limits. - Conduct training sessions for healthcare staff on proper use, handling, and basic troubleshooting of equipment. - Prepare user manuals, SOPs, and maintenance documentation for handover to hospital technicians or biomedical staff. - Ensure safe operation procedures are understood and implemented. | - Detailed functional testing reports for each piece of equipment. - Performance verification results, showing that devices meet manufacturer specifications and clinical standards. - Certificates or records confirming that diagnostic and monitoring equipment (e.g., blood pressure monitors, lab analyzers, imaging machines) have been properly calibrated. - Training reports, attendance sheets and records of training sessions conducted. - Guidelines for safe operation and basic troubleshooting |  |
| Total Estimated Cost |  |  |  |

Mode of payment

Payments will be made upon successful completion of each project phase and submission of corresponding deliverables, verified and approved by EF as per the above table.

Duration of the assignment:

The assignment is expected to cover a maximum of 150 working days, to be carried out between the contract signature date and 31 December 2027.

Qualifications and profile

- Bachelor's degree in Biomedical Engineering, Healthcare Technology Management, or related field.

- Master’s degree preferred.

- Minimum 8–10 years’ experience in medical equipment planning, procurement, installation, and maintenance within hospital settings.

- Proven experience managing hospital rehabilitation projects, including procurement, vendor evaluation, and technical supervision.

- Familiarity with national and International standards such as ISO 13485, IEC 60601, and WHO guidelines.

- Strong analytical, problem-solving, and communication skills.

- Experience working in hospitals medical equipment works and Ethiopia Ministry of Health (MoH) are mandatory whereas experience with international organizations like WHO is plus;

- Excellent report writing and training facilitation skills.

Submission requirements

- Consultancy Profile and Legal Documents

- Valid consultancy license issued by relevant regulatory authorities

- Business registration certificate and relevant legal documents

- Tax clearance certificates or equivalent proof of fiscal compliance

- Certifications and Professional Qualifications

- Resumes/CVs of the candidate highlighting his/her professional qualifications (as per the attached template)

- Copies of relevant certifications (e.g., Educational Certificate, specialized healthcare or medical equipment certifications, etc.)

- Experience and Project Documentation

List of relevant projects undertaken, especially those related to:

- Medical equipment procurement, installation, and commissioning

- Experience in re-equipment of conflict affected Healthcare infrastructures;

- Projects funded by international donors or government agencies

- Detailed project descriptions including scope, timeline, outcomes, and references

- Letters of recommendation or client references from previous clients

Table 2. Evaluation Criteria

| SN. | Evaluation criteria | Description | Weight % |
| --- | --- | --- | --- |
| 1. | Relevant experience in providing technical assistance for medical equipment procurement, installation, and commissioning in healthcare facilities. | - The candidate should have documented experience in assisting healthcare facilities with selecting, purchasing, installing, and commissioning medical equipment. - This includes familiarity with technical specifications, standards, and procedures for medical devices, as well as experience working with hospital staff and vendors to ensure seamless integration and operational readiness. | 40 |
| 2. | Previous experience working on similar projects funded by international donors or government programs. | - The candidate should have a proven track record of successfully executing projects funded by International NGOS, or government agencies. - Proven experience in similar assignments, working closely with the Ethiopia Ministry of Health and Regional Health Bureaus. - Evidence of such projects, including reference contacts, scopes, and outcomes, should be provided. | 30 |
| 3. | Understanding of the applicable standards, regulations, and best practices in healthcare infrastructure and medical equipment. | - The candidate must demonstrate comprehensive knowledge of relevant standards (e.g., ISO, IEC, local building codes), regulations, and best practices related to healthcare infrastructure, safety, quality control, and medical equipment handling. - They should show familiarity with international and national guidelines to ensure compliance and high-quality outcomes. | 30 |
| Total |  |  | 100% |

Selection Criteria

Candidates will be shortlisted based on their qualifications and experience. Shortlisted candidates will be invited for an interview to further assess their suitability for the assignment. The financial terms of the contract will be discussed and agreed with the selected candidate following the technical evaluation.

Reporting lines

The expert will report directly to the EF Project Manager and coordinate with the Ministry of Health, hospital management teams, and procurement units.